## Instructions
WORKBOOK TABS | CELL COLOURS |  | SUPPORTING DOCUMENTATION
Instructions |  | Input cells, can be left blank if not applicable | SANS1544:2014 - Energy performance certificates for buildings - this is the standard for calculating EPC ratings, and which this tool is based on. It is recommended that all building owners purchase a copy of the standard for reference purposes. It can be purchased at the below link.
Please complete/review each of the applicable tabs, as below: |  | Supporting evidence required, if applicable
|  | No text/input required | Purchase SANS1544:2014 here
Definitions
SANS10400XA - The application of the National Building Regulations; Part X: Environmental sustainability; Part XA: Energy usage in buildings - the building standards to which SANS1544 is linked, specifically in relation to Energy Reference values that are used in the final EPC calculation. The 2021 version can be purchased at the below link.
Provides key definitions for metrics required for EPC rating calculations, as per SANS1544 and SANS10400-XA. Please review these before completing the subsequent tabs
SANEDI Registered Professional and Building information |  |  | Purchase SANS 10400-XA:2021 here
Provide information for the SANEDI Registered Professional undertaking the assessment, and for the building owners, location, and building itself
Data input tabs
Provide all required data in these tabs to enable EPC calculations, as per questions contained in the tabs
SANS10400 reference tables
These tables contain maximum energy consumption reference values for SANS10400XA 2021, as used in EPC calculations
EPC Certificate Information
Contains summary information to be displayed on the EPC certificate and the EPC rating
Hardcoded Inputs and Calculations
Contains hardcoded inputs and formulas to calculate the information displayed on the EPC certificate and the EPC rating. No user input is required on these tabs

## Definitions
EPC definitions
No. | Term | Definition
1 | Building | Roofed construction with walls, for which energy is used to condition the indoor climate, and to provide domestic hot water and illumination and other services related to the use of the building. NOTE 1 A building may refer to the building as a whole or parts thereof that have been designed or altered to be used separately. NOTE 2 Adapted from EN 15217:2007.
2 | Delivered energy | Energy, per energy carrier, supplied to the building system, to satisfy the uses taken into account (heating, cooling, ventilation, domestic hot water, lighting, appliances, etc.) or to produce electricity NOTE Adapted from EN 15603:2008.
3 | Energy carrier | Energy form or system, including but not limited to, electricity, gas, fossil fuels, and renewable energy
4 | Energy performance | Net energy consumed in kilowatt hours per square metre per year (kWh/m2/a) to meet the different needs associated with the use of the building excluding measured or assessed energy consumed by garages, car parks and storage areas as well as energy consumed by outdoor services (for example landscape lighting and security), which may include, inter alia, heating, hot water heating, cooling, ventilation and lighting
5 | Energy performance Certificate | Certificate that indicates the energy performance of a building and that is issued in accordance with this standard by an accredited body NOTE Adapted from EN 15217:2007.
6 | Existing building | Building that has been in operation for two years or longer, and that has not been subjected to a major renovation or change of occupancy within the past two years of operation
7 | Exported energy | Energy, per energy carrier, delivered by the building system and used outside the building system NOTE Adapted from EN 15217:2007.
8 | Measured energy performance | Operational energy performance: Energy performance based on measured amounts of energy consumed
9 | Net energy | Delivered energy minus exported energy NOTE Adapted from EN 15217:2007.
10 | Net floor area | Sum of all areas between the vertical building components (walls or partitions), excluding garages, car parks and storerooms
11 | Occupancy | Class of occupancy: particular use or the type of use to which a building or portion thereof is normally put or intended to be put as defined by the relevant national legislation (see foreword)
12 | Multiple occupancy - | Building in which no discrete occupancy accounts for ≥ 90 % of the net floor area of the building
13 | Single occupancy - | Building in which a discrete occupancy accounts for ≥ 90 % of its net floor area
14 | Reference value | Er: standard value against which an energy indicator/rating is compared
15 | SAPOA gross floor area | Definition to be provided
16 | SAPOA net floor area | Definition to be provided
17 | Unoccupied floor area | Unoccupied or vacant area that is not being used for its intended function and that is not consuming any net energy

## Registered Professional Info
SANEDI Registered Professional Information
Registered Professional Name | Energy Auditors Inc
Registered Professional Number | SRP000000
Date of EPC issue | 2021-07-09
Valid until | 2026-07-08

## Building Information
Building and building owner information
Building location and contact details |  |  |  |  | Supporting documentation required
Name of building owner | Asithandile Manzi
Name of Building | Dynamite Pty Ltd
Street address | 123 Franklin Street
Suburb | Sandton
Town/City | Sandton
Postal code | 1223
Province | Gauteng
ERF no | ERF14326 |  |  |  | Copy of approved building plans
Climatic zone, as per SANS10400-XA | 1 - Cold interior - JHB, Bloemfontein
Google maps location weblink
Building coordinates (decimal degrees) | 0
Contact person (Name & surname) | Ryan X
Contact person (mobile) | 0821234567
Contact person (email) | ryanx@dynamite.org.za
EPC assessment period |  |  |  |  | NOTE: SANS1544 states that the energy performance assessment period shall be one year in respect of the data for the preceding year. However 2020 is regarded as an exceptional year, and 2019 data may be used so long as motivation is provided for this.
Start date | 12/06/2022
End date | 11/06/2023
Building information
Year of Construction | N/A |  |  |  | NOTE: The EPC regulations currently only apply to 4 occupancy classes: G1 - Offices; A1 Entertainment & public assembly; A2 Theatrical & indoor sport; A3 Places of instruction. In the adjacent cells, please state which of these occupancy classes your building contains.
Number of Floors (incl or excl basements & parking) | 12
Does the building have a single or multiple occupancies. Note rule of 90% - see definitions. | Single
For single occupancy class buidlings, state occupancy class (see Definitions) | G1 - ii |  |  |  | Copy of occupancy certificate
For multiple occupancies, state applicable occupancy classess (see Definitions and not to the right) | N/A | N/A | N/A | N/A
Year of last major renovation | 1998
Was there a major renovation within the past 2 years?
If yes, provide details
Occupancy certificate date of issue | N/A
Has the occupancy class changed in the last 2 years?
If yes, provide details
Building plan approval date | N/A
Building floor area
Gross floor area (Total floor area) | 25000
Gross floor area confirmed by (e.g. original building plans; emergency plans; etc) | Other
If other, describe | Self-measurements
Net floor area | 24000
Net floor area confirmed by (e.g. original building plans; emergency plans; etc) | Other
If other, describe | Calculations

## Energy Consumption
Energy consumed calculations
Electricity consumption
Question no. | Question | Answer | Evidence required, if applicable
1 | Enter total grid electricity consumption for 12 month period based on utility bills/ 'at the fence' internal bulk meter (kWh) | 100000 | Copies of all monthly utility bills
2 | Is this building submetered? | Yes
NOTE: WHETHER A BUIDLING IS SUBMETERED OR NOT, IT IS EXPECTED THAT AT LEAST SOME FLOOR AREAS WILL NEED TO BE EXCLUDED FROM THE EPC CALCULTION. ENERGY USE OF THESE EXCLUDED AREAS IS CALCULATED IN THE 'EXCLUDED ENERGY' TAB AND THE FLOOR AREA OF THESE EXLUDED AREAS IS CAPTURED IN THE 'NET FLOOR AREA' TAB
Other sources of electricity
Diesel:
4 | Does this building have a backup diesel generator? | No
5 | If yes, what was the amount of diesel consumed in the period? (litres) | 950 | Monthly meter readings or tank volume readings, or diesel delivery invoices/receipts
Gas (LPG):
6 | Does this building have a backup LPG generator, or use LPG for heating purposes? | No
7 | If yes, what was the amount of LPG consumed in the period? (kilogrammes) | 1667 | Monthly meter readings or tank volume readings, or diesel delivery invoices/receipts
Solar:
16 | Does this building have a rooftop solar installation? | Yes
17 | If yes, what was the total output of the solar installation for the period (kWh/annum)? | 50000 | Monthly meter/system readings
Other:
22 | Does this building use electricity or heat that is generated from a source other than those listed above (e.g. LNG, coal, wood, hydrogen)? | No
23 | If yes, please define the fuel source and measurement unit:
25 | If yes, provide the total amount of fuel consumed in the period (as per the unit provided) |  | Monthly meter readings, or fuel delivery invoices/receipts

## Net Floor Area
Net floor area calculations
IMPORTANT NOTE:
Both single and multiple occupancy buildings are required to complete these tables. Note the final '% contribution of occupancy class to EPC net floor area' outputs; if no single occupancy class is 10% or greater of the net floor area, the building must be considered a single occupancy class building, and all floor area information must be entered into the dominant occupany class section of the below tables.
Net floor area of all occupancy classes (m²) | Net floor area
Is the net floor area of each occupancy class of the building known? This should be exclusive of garages, car parks, storerooms, verandahs, stairwells, lift shafts, and other vertical intrusions. | Yes - complete cells in row 17 only
Building climatic zone (refer to SANS10400 2021XA) | 1
| Entertainment and public assembly | Theatrical and indoor sport | Places of Instruction | Places of Instruction | Offices | Offices | Evidence required
| A1 | A2 | A3 - i | A3 - ii | G1 - i | G1- ii
Known net floor area for each occupancy class (m2)
Excluded category/building features for each occupancy class | Total floor area covered by feature/s (m2) | Total floor area covered by feature/s (m2) | Total floor area covered by feature/s (m2) | Total floor area covered by feature/s (m2) | Total floor area covered by feature/s (m2) | Total floor area covered by feature/s (m2) | Building plans
Garages
Car parks
Storerooms
Verandahs
Stairwells
Liftshafts
Other vertical intrusions
Other 1 (describe here)*
Other 2 (describe here)*
Other 3 (describe here)*
*If this building contains features that the building owner feels should be excluded from net floor area (as per SANS1544), other than those listed, please describe here.

## Excluded Energy
Excluded energy calculations
Instructions
FOR ALL BUILDINGS:
NB: This tab is to be completed for total energy consumption in excluded areas.
Lights* | Area classification Description | Number of lights | Wattage of lights specified in (W) | Daily hours of occupation | Days occupied per week | Weeks occupied per year | Evidence required
| Storeroom | [5 empty] | Raw data and calculation
Calculated annual energy consumption of lights within the excluded area (kWh/annum)

## Occupancy & Prorated Floor Area
Occupied floor area calculations
Calculating prorated occupied floor area
The prorated occupied floor area must be calculated for each floor area/section of a building that experienced differing occupancy rates in the course of the measurement period. I.e. if a building has two different occupancy classes, the prorated floor area for the 2 occupancies of the building must first be calculated, before determining the overall prorated occupied floor area, as per the example calculation below.
Example calculation
Calculating the % of a year for which a space was occupied:
Description: A space is considered occupied if it is in active use, regardless of the capacity at which it is operating. I.e. if only 50% of staff are working in the space for a given period, it is considered occupied for the period in which staff were in that space. A space is only considered unoccupied if it is not in use, i.e. it is vacant.
Calculation table:
| Standard hours/year | Actual hours of occupation (daily hours of occupation * days occupied per week * weeks occupied per year) | Occupancy % of area (Actual hours of occupation/stand hours per year) | Floor area (m2) | Prorated occupied floor area (product of Occupancy % & Floor area)
Occupancy of A:
Occupancy of B:
Occupancy of C:
Prorated occupied floor area (m2) (sum of all prorated floor areas): |  |  |  |  | 0
Data entry table
Input and output tables
| Exclusion 1 | Exclusion 2 | Exclusion 3 | Exclusion 4 | Exclusion 5 | Exclusion 6 | Exclusion 7 | Exclusion 8 | Exclusion 9 | Exclusion 10**
Discription | Storeroom
Floor area 1 ( m²) | 2000 m²
Floor area 2
Floor area 3
Floor area 4
Floor area 5
Floor area 6
Floor area 7
Floor area 8
Floor area 9
Floor area 10
Floor area 11
Floor area 12
Floor area 13
Floor area 14
Floor area 15
Floor area 16
Floor area 17
Floor area 18
Floor area 19
Floor area 20
Floor area 21
Floor area 22
Floor area 23
Floor area 24
Floor area 25
Floor area 26
Floor area 27
Floor area 28
Floor area 29
Floor area 30

## Er tables SANS10400-XA 2021
SANS10400XA 2021 Reference Values
Maximum energy consumption (kWh/m2) by occupancy class and climatic zone - SANS10400XA 2021
Climatic zone
|  | 1 | 2 | 3 | 4 | 5 | 5H | 6 | 7
Occupancy class | A1 | 75 | 75 | 95 | 70 | 95 | 95 | 80 | 80
| A2 | 95 | 95 | 110 | 90 | 110 | 110 | 105 | 105
| A3 - i | 110 | 155 | 110 | 125 | 140 | 140 | 120 | 120
| A3 - ii | 60 | 65 | 55 | 60 | 55 | 60 | 65 | 65
| G1 - i | 90 | 105 | 110 | 95 | 110 | 95 | 100 | 100
| G1 - ii | 70 | 150 | 190 | 145 | 180 | 165 | 75 | 75
Definitions:
Occupancy classes | bar: Climatic zone 1 to Climatic zone 6
Entertainment and public assembly
A1 | Occupancy where persons gather to eat, drink, dance or participate in other recreation
Theatrical and Indoor Sport
A2 | Occupancy where persons gather for the viewing of theatrical, operatic, orchestral, choral, cinematographic or sport performances
Places of instruction
A3 - i | Occupancy other than primary or secondary schools, where students or other persons assemble for the purpose of tuition or learning
A3 - ii | Occupancy where school children assemble for the purpose of tuition or learning
Offices
G1 - i | Large multi-storey office buildings, banks, consulting rooms and similar uses with lifts and energy consuming services that operate on a typical daytime occupancy
G1 - ii | Stand-alone blocks and / or campus of buildings that form an office park but operate separately
Climatic zones | bar: Climatic zone 1 to Climatic zone 6
Refer to the below map to identify the appropriate climatic zone

## EPC Certificate Information
EPC certificate information and EPC grade
Building information
Building name
Street address
Suburb
Town/city
Post code
Province
Building coordinates
Owner
Occupancy class/es
Number of floors
Net floor area (with EPC exclusions)
Year of construction
Building plan approval
Occupancy certificate
Year of last major renovation
Climate zone
Cadastral information
Energy consumption
Prorated floor area
Calculated total energy consumption (kWh)
Total energy consumption for EPC calculation (kWh) (accounting for excluded energy, if greater than 10% of total)
Grid electricity consumption
Diesel energy consumption (in kWh/a)
LPG energy consumption (in kWh/a)
Solar electricity consumption
Other energy consumption
EPC calculation (SANS10400-XA 2021 reference values)
Reference energy performance Er (kWh/m²) - single occupancy
Reference energy performance Er (kWh/m²) - multiple occupancy
Measured overall energy performance (kWh/m2)
Variance
Multiple of variance
EPC grade - SANS10400XA 2021
SANEDI Registered Professional Information
SANEDI Registered Professional Name
Registered Professional Number
Date of EPC issue
Valid until